{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":5,"rows_kept":9,"merged":[[0,0,0,4]]}
["病理科试剂一批（二包）"]
["序号","试剂名称","规格型号","技术要求参数","单位"]
[1,"清洗液A","2000ml/包","1、常温保存有效期2年\n2、PH值为7.4-7.6\n3、蒸馏水或纯化水溶解配制4、主要成分：氯化钠、磷酸氢二钠、磷酸二氢钠","包"]
[2,"清洗液C","50ml/瓶","1、常温保存有效期2年\n2、PH值为7.4-7.6\n3、PBS水溶解配制\n4、主要成分：氯化钠、磷酸氢二钠、磷酸二氢钠、吐温20（Tween20）","瓶"]
[3,"免疫组化抗原修复缓冲液A","2000ml/包","1、常温保存有效期24个月\n2、PH值为7.4-7.6\n3、PBS水溶解配制\n4、主要成分：C6H5Na3O7.2H2O;C6H8O7","包"]
[4,"免疫组化抗原修复缓冲液B","100ml/瓶（PH8.0）","1、常温保存有效期24个月\n2、PH值为8.0\n3、PBS水溶解配制\n4、主要成分：乙二胺四乙酸二钠；NH2C(CH2OH)3","瓶"]
[5,"免疫组化抗原修复缓冲液C","100ml/瓶（PH9.0）","1、常温保存有效期24个月\n2、PH值为9.0\n3、PBS水溶解配制\n4、主要成分：乙二胺四乙酸二钠；NH2C(CH2OH)3","瓶"]
[6,"DAB染色液","600人份/袋","1、2-8℃保存有效期18个月\n2、色原、底物缓冲液组成\n3、主要成分：二氨基联苯胺、过氧化氢、磷酸盐缓冲液等","袋"]
[7,"DAB染色液","2400人份/袋","1、2-8℃保存有效期18个月\n2、色原、底物缓冲液组成\n3、主要成分：二氨基联苯胺、过氧化氢、磷酸盐缓冲液等","袋"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}